## Slide 1: Power system fault detection and classification
CAPSTONE PROJECT
– Presented By –
Student Name - Shivam Laxman Dhamankar
College Name - Wainganga College of Engineering, Nagpur
Department - Computer Science & Engineering

## Slide 2: OUTLINE
Problem Statement
Proposed Solution
System Approach
Process (Auto AI)
Deployment
Result
Conclusion
Future Scope
References
IBM Certifications

## Slide 3: Problem Statement
Design a machine learning model to detect and classify different types of faults in a power distribution system.
Using electrical measurement data (e.g., voltage and current phasors), the model should be able to distinguish between normal operating conditions and various fault conditions (such as line-to-ground, line-to-line, or three-phase faults).
The objective is to enable rapid and accurate fault identification, which is crucial for maintaining power grid stability and reliability.

## Slide 4: Proposed Solution
Fault Pattern Analysis :-
  1) Use clustering (e.g., K-Means) on fault types with environmental and load data to identify risk zones.
  2) Analyze correlation between high temperature, load, and specific fault types (e.g., Overheating).
Predictive Maintenance System :-
  1) Train a classification model using features like temperature, current, and component health to predict fault likelihood.
  2) Use anomaly detection for identifying abnormal readings.

## Slide 5: System Approach
IBM Cloud Lite Services
Watsonx AI Studio (Service)
Watson.ai Runtime
IBM Cloud Object Storage
IBM Cloud Tools (Auto AI)
Windows 11

## Slide 6: Process (auto ai)

## Slide 12: Deployment

## Slide 14: Result

## Slide 16: Conclusion
In this project, a machine learning-based approach was designed and implemented to rapidly detect and classify faults in a power distribution system using electrical measurement data, such as voltage and current phasors.
The model was trained to distinguish between normal operation and various types of faults — including line-to-ground (LG), line-to-line (LL), double line-to-ground (LLG), and three-phase faults (LLL, LLLG).
These measurements serve as critical indicators of the operating state of power systems and are essential for making timely decisions during fault conditions.

## Slide 17
The future of power system fault detection lies in the integration of intelligent, adaptive, and explainable ML solutions that operate in real-time, across distributed networks, and in concert with other smart grid technologies.
By extending the model's scope to include localization, adaptive learning, real-time deployment, and cybersecurity, this research can play a foundational role in building the next-generation resilient and intelligent power grid.
Fault Localization
Future scope

## Slide 18: References
IBM Cloud - https://cloud.ibm.com/
Watsonx AI Studio – https://cloud.ibm.com/catalog/services/watsonxai-studio
Data Sets - https://www.kaggle.com/datasets/ziya07/power-system-faults-dataset
GitHub Link - https://github.com/Shivam200408/Power-System-Fault-Detection-and-Classification.git

## Slide 19: IBM Certifications

## Slide 20: IBM Certifications

## Slide 21: IBM Certifications

## Slide 22: THANK YOU